## Systems
who | SysOwner | nwells | Wqy
0 | A | 2 | 200000

## Wells
xcor | ycor | parent | SystemPair | IsCold | T_inj | Qy | IsMono | Rth | ztop | FilterLength | Well_name | owner | type | who | N
0 | 0 | 0 | 0 | 0 | 16 | 250000 | 0 | 63.0783 | -10 | 30 | A1 | A | warm | 0 | 0
0 | 0 | 0 | 0 | 1 | 8 | 250000 | 0 | 63.0783 | -10 | 30 | A1 | A | cold | 1 | 1
Note on A1: Beernink, Stijn: x coordinate in grid (only for 3D)
Note on B1: Beernink, Stijn: y coordinate in grid (only for 3D)
Note on E1: Beernink, Stijn: 1 = yes --> cold 2 = no --> warm
Note on F1: Theo Olsthoorn: Temp of injected water
Note on G1: Theo Olsthoorn: Sum of injected and extracted over one entire year
Note on H1: Beernink, Stijn: 1 = yes = MonoWell system 0 = no = Doublet system
Note on I1: Beernink, Stijn: The thermal radius of the well. Based on: Caq = 2800000 J/m3/C Cw = 4200000 J/m3/C
Note on J1: Beernink, Stijn: Vertical (z) depth of top of the screen (according to Layers sheet)
Note on K1: Beernink, Stijn: Length of well screen (filter), according to Layers sheet
Note on L1: Beernink, Stijn: Name of well
Note on M1: Beernink, Stijn: Link to name of system (Systems sheet)
Note on N1: Beernink, Stijn: type of well (should match with 'IsCold' column
Note on O1: Beernink, Stijn: Well number
Note on P1: Beernink, Stijn: Well number

## Layers
Layer | zTop | zBot | Kh | Kv | por | ss | s1 | s2 | type
1 | 0 | -10 | 0.05 | 0.01 | 0.3 | 1e-05 | 12 | 0 | aquitard
2 | -10 | -40 | 35 | 7 | 0.3 | 1e-05 | 12 | 0 | aquifer
3 | -40 | -50 | 0.05 | 0.01 | 0.3 | 1e-05 | 12 | 0 | aquitard
Note on A1: Beernink, Stijn: Layer number
Note on B1: Beernink, Stijn: Top of layer (z) depth (m)
Note on C1: Beernink, Stijn: Bottom of layer (z) depth (m)
Note on D1: Beernink, Stijn: Horizontal hydraulic conductivity (m/d) of layer (for given ambient temperature (s1 column))
Note on E1: Beernink, Stijn: Vertical hydraulic conductivity (m/d) of layer (for given ambient temperature (s1 column))
Note on F1: Beernink, Stijn: porosity (-) of layer
Note on G1: Beernink, Stijn: Specific Storage of layer (relevant for transient simulation)
Note on H1: Beernink, Stijn: Starting (natural) concentration of species 1
Note on I1: Beernink, Stijn: Starting (natural) concentration of species 2
Note on J1: Beernink, Stijn: Type of layer (aquitard or aquifer)

## FLOWS
0 | 1 | 2 | 3
|  |  |  | 0 | 0
|  |  |  | 26 | 1140
|  |  |  | 0 | 2269
|  |  |  | 2 | 1105
|  |  |  | 13 | 410
|  |  |  | 319 | 200
|  |  |  | 1696 | 183
|  |  |  | 1667 | 84
|  |  |  | 3937 | 144
|  |  |  | 3529 | 132
|  |  |  | 2323 | 37
|  |  |  | 1514 | 159
|  |  |  | 21 | 175
|  |  |  | 58 | 2407
|  |  |  | 0 | 2101
|  |  |  | 80 | 573
|  |  |  | 140 | 274
|  |  |  | 0 | 0
|  |  |  | 0 | 0
|  |  |  | 577 | 615
|  |  |  | 2981 | 691
|  |  |  | 4365 | 131
|  |  |  | 1959 | 329
|  |  |  | 19 | 1971
|  |  |  | 6 | 2876
|  |  |  | 0 | 3571
|  |  |  | 0 | 3459
|  |  |  | 0 | 8457
|  |  |  | 0 | 1836
|  |  |  | 0 | 1623
|  |  |  | 424 | 1523
|  |  |  | 28 | 1717
|  |  |  | 3625 | 368
|  |  |  | 2943 | 1062
|  |  |  | 2141 | 183
|  |  |  | 766.5 | 1065
|  |  |  | 13.5 | 1525.5
Note on A1: Martin Bloemendal - CITG: ADD your well flows for each each well for time step (perlen). Specifiy the total flow during your sprecified timestep

## TEMPS
0 | 1 | 2 | 3
Note on A1: Martin Bloemendal - CITG: specify the well temperatures for each well for each timestep. When groundwater is extracted, the temperature specified her is ignored.

## Monitoring
Mon | x | y | z

## Compatibility Report (hidden)
Compatibility Report for H2AlliesMPPW.xls
Run on 2017/06/06 21:42
The following features in this workbook are not supported by earlier versions of Excel. These features may be lost or degraded when opening this workbook in an earlier version of Excel or if you save this workbook in an earlier file format.
Minor loss of fidelity | # of occurrences | Version
Some cells or styles in this workbook contain formatting that is not supported by the selected file format. These formats will be converted to the closest format available. | 9 | Excel 97-2003